## Slide 1: Skin Dose

## Slide 2: Skin Dose - Fluoroscopy
 | Skin dose (mGy/min)
RF | 14 ± 6
C-Arm | 13 ± 5
Angio | 7 ± 4
Cath Lab | 12 ± 5

## Slide 3: Fluoroscopy

## Slide 4: Fluoroscopy

## Slide 5: Fluoroscopy
Low dose – 0.52 ± 0.19
High dose – 1.7 ± 0.6

## Slide 6: Fluoroscopy
10 cm Lucite – 0.17 ± 0.06
30 cm Lucite – 4.8 ± 2.2

## Slide 7: Fluoroscopy
Mag 1 – 1.41 ± 0.27
Mag 2 – 2.16 ± 0.79

## Slide 8: Pulse Fluoroscopy

## Slide 9: Spot Imaging – RF/C-Arm
0.4 mGy/frame

## Slide 10: DSA
Angio
1 mGy/frame
Cath Lab
0.15 mGy/frame

## Slide 11: Receptor dose

## Slide 12: Fluoroscopy

## Slide 13: Spot Imaging

## Slide 14: RF
1.1 ± 0.6 mGy/frame

## Slide 15: C-Arm
1.03 ± 0.6 mGy/frame

## Slide 16: DSA Imaging

## Slide 17: Angio
2.5 ± 1.3 mGy/frame

## Slide 18: Cath Lab
0.3 ± 0.05 mGy/frame

## Slide 19: Angio and Cath Lab